## Slide 1
Catalonia Energy Research Institute
Thermal Energy and Building Performance group. IREC
Code structure Python
Analysis archetype

## Slide 2
Workflow Analysis Archetype
Performance calculation active part  (PV,HVAC and DHW)
Performance calculation passive part  (input  Project)
Calculation of retrofitting cost according to the 3D model stored in PostgreSQL
Obtain the computation of a building's total surface area
Read all the simulations (n simulations)
Obtain the computation of a building's total surface area
LCA data (economical + CO2 + Primary energy)
Calculation active analysis
Calculation passive analysis
Calculation of retrofitting cost

## Slide 3
Workflow Analysis Archetype
Calculation of primary energy and consumption according to the % of active system
Calculation of comfort according to ARV KPIs  Humidex + T operative index
Calculation active part
Calculation passive part
Calculation of retrofitting cost
Obtain the computation of a building's total surface area
Primary energy with % of facilities distribution
Transforming the comfort analysis outputs for graphing (averages, particularities…)
Only for ARV
Calculation of investment considering grants
Python module | Input | Output
comfortAnalysis | Humidex + T operative (TRNSYS) | Count(IEQ_s,IEQ_w) – day/night setpoints differentiated Count(Humidex_bands)
comfortGraph | Outputs(comfortAnalysis) | X – Y data to graph (average according to number of zones) Quantity of hours (number) with 1 Humidex/IEQ band or worst Quantity of hours (%) with 1 Humidex/IEQ band or worst
primaryEnergyNR | Outputs(TRNSYS) P_ht/P_cl/P_lig/P_dev/P_dhw | Primary energy with % of facilities distribution PE_ht/PE_cl/PE_lig/PE_dev/P_dhw
optimalRetrofit | PE_bc_total (Base case) PE_rf_total (Retrofitted) | X – Y data to graph X  investment (with grants) and Y  primary energy
energyScenarios (ARV) | PE_ht/PE_cl/PE_lig/PE_dev/P_dhw | Primary energy + Consumption of each retrofitting scenario

## Slide 4
Workflow Analysis Archetype - Example
Python module | Input | Output
comfortAnalysis | Humidex + T operative (TRNSYS) | Count(IEQ_s,IEQ_w) – day/night setpoints differentiated Count(Humidex_bands)
comfortGraph | Outputs(comfortAnalysis) | X – Y data to graph (average according to number of zones) Quantity of hours (number) with 1 Humidex/IEQ band or worst Quantity of hours (%) with 1 Humidex/IEQ band or worst
primaryEnergyNR | Outputs(TRNSYS) P_ht/P_cl/P_lig/P_dev/P_dhw | Primary energy with % of facilities distribution + PV PE_ht/PE_cl/PE_lig/PE_dev/P_dhw
optimalRetrofit | PE_bc_total (Base case) PE_rf_total (Retrofitted) | X – Y data to graph X  investment (with grants) and Y  primary energy
energyScenarios (ARV) | PE_ht/PE_cl/PE_lig/PE_dev/P_dhw | Primary energy + Consumption of each retrofitting scenario

## Slide 5
Workflow Analysis Archetype - Example
Python module | Input | Output
comfortAnalysis | Humidex + T operative (TRNSYS) | Count(IEQ_s,IEQ_w) – day/night setpoints differentiated Count(Humidex_bands)
comfortGraph | Outputs(comfortAnalysis) | X – Y data to graph (average according to number of zones) Quantity of hours (number) with 1 Humidex/IEQ band or worst Quantity of hours (%) with 1 Humidex/IEQ band or worst
primaryEnergyNR | Outputs(TRNSYS) P_ht/P_cl/P_lig/P_dev/P_dhw | Primary energy with % of facilities distribution PE_ht/PE_cl/PE_lig/PE_dev/P_dhw
optimalRetrofit | PE_bc_total (Base case) PE_rf_total (Retrofitted) | X – Y data to graph X  investment (with grants) and Y  primary energy
energyScenarios (ARV) | PE_ht/PE_cl/PE_lig/PE_dev/P_dhw | Primary energy + Consumption of each retrofitting scenario

## Slide 6
Workflow Analysis Archetype - Example
Python module | Input | Output
comfortAnalysis | Humidex + T operative (TRNSYS) | Count(IEQ_s,IEQ_w) – day/night setpoints differentiated Count(Humidex_bands)
comfortGraph | Outputs(comfortAnalysis) | X – Y data to graph (average according to number of zones) Quantity of hours (number) with 1 Humidex/IEQ band or worst Quantity of hours (%) with 1 Humidex/IEQ band or worst
primaryEnergyNR | Outputs(TRNSYS) P_ht/P_cl/P_lig/P_dev/P_dhw | Primary energy with % of facilities distribution PE_ht/PE_cl/PE_lig/PE_dev/P_dhw
optimalRetrofit | PE_bc_total (Base case) PE_rf_total (Retrofitted) | X – Y data to graph X  investment (with grants) and Y  primary energy
energyScenarios (ARV) | PE_ht/PE_cl/PE_lig/PE_dev/P_dhw | Primary energy + Consumption of each retrofitting scenario
Base case
Retrofitted case

## Slide 7
Workflow Analysis Archetype - Example
Python module | Input | Output
comfortAnalysis | Humidex + T operative (TRNSYS) | Count(IEQ_s,IEQ_w) – day/night setpoints differentiated Count(Humidex_bands)
comfortGraph | Outputs(comfortAnalysis) | X – Y data to graph (average according to number of zones) Quantity of hours (number) with 1 Humidex/IEQ band or worst Quantity of hours (%) with 1 Humidex/IEQ band or worst
primaryEnergyNR | Outputs(TRNSYS) P_ht/P_cl/P_lig/P_dev/P_dhw | Primary energy with % of facilities distribution PE_ht/PE_cl/PE_lig/PE_dev/P_dhw
optimalRetrofit | PE_bc_total (Base case) PE_rf_total (Retrofitted) | X – Y data to graph Y  investment (with grants) and X  primary energy
energyScenarios (ARV) | PE_ht/PE_cl/PE_lig/PE_dev/P_dhw | Primary energy + Consumption of each retrofitting scenario

## Slide 8
Workflow Analysis Archetype - Example
Python module | Input | Output
comfortAnalysis | Humidex + T operative (TRNSYS) | Count(IEQ_s,IEQ_w) – day/night setpoints differentiated Count(Humidex_bands)
comfortGraph | Outputs(comfortAnalysis) | X – Y data to graph (average according to number of zones) Quantity of hours (number) with 1 Humidex/IEQ band or worst Quantity of hours (%) with 1 Humidex/IEQ band or worst
primaryEnergyNR | Outputs(TRNSYS) P_ht/P_cl/P_lig/P_dev/P_dhw | Primary energy with % of facilities distribution PE_ht/PE_cl/PE_lig/PE_dev/P_dhw
optimalRetrofit | PE_bc_total (Base case) PE_rf_total (Retrofitted) | X – Y data to graph Y  investment (with grants) and X  primary energy
energyScenarios (ARV) | PE_ht/PE_cl/PE_lig/PE_dev/P_dhw | Primary energy + Consumption of each retrofitting scenario

## Slide 9
Workflow Analysis Archetype - csvTRNSYS
AllCombinedResults